# Bay 2 Reagent Spill Report

# 1. Identifiers

Site: Chemistry Analyzer Bay 2

Incident Date: 2026-07-03

Severity: Minor

# 2. Description

A reagent spill on the Bay 2 analyzer halted processing over a one hour window. See Figure 2 for the tray layout.

Cross-section of the Worn Reagent Seal

# 3. Timeline

Reagent-level warning at 08:12; spill detected 08:20; resumed after decontamination at 11:20.

[FIGURE: figureA.png]

# 4. Contributing Factors

Control-software 7.2.0 was running on the affected analyzer. A secondary catch tray was absent.

# 5. Corrective Actions

| Due Date | Action |
| --- | --- |

# 6. Approvals

Reviewer:

Signoff Date: